## Slide 1
Who Watches the Watchers? Unobservability in the presence of chaos
Adrian Cockcroft
@adrianco
AWS VP Cloud Architecture Strategy

## Slide 2
Initial thoughts from April 2018
https://medium.com/@adrianco/who-monitors-the-monitoring-systems-715a333f97fc

## Slide 3
What should your system do when something fails?
Stop?
Carry on with reduced functionality?
Collapse horribly?

## Slide 4
If a permissions look up fails, should you stop or continue?
How often do you failover apps to it?
How often do you failover the whole datacenter at once?
Do you have a backup datacenter?
What happens to your observability tools when you most need them?

## Slide 5
A fairy tale…
Once upon a time, in theory, if everything works perfectly, we have a plan to survive the disasters we thought of in advance.
How did that work out?

## Slide 6
Datacenter flooded in hurricane Sandy…
Finance company, Jersey City
Didn’t update security certificate and it expired…
Entertainment site
Forgot to renew domain name…
SaaS vendor
Whoops!
YOU, tomorrow

## Slide 7
“You can’t legislate against failure, focus on fast detection and response.”
—Chris Pinkham

## Slide 8
Fast detection
This implies that the last thing to fail, should be the monitoring system that makes it observable.

## Slide 9
The Network Is Reliable ACM Queue 2014
Bailis & Kingsbury
@pbailis @aphyr
(Spoiler – it isn’t…)

## Slide 10
Drift Into Failure
Sydney Dekker
Everyone can do everything right at every step, and you may still get a catastrophic failure as a result…

## Slide 11
Release It! Second Edition 2017
Michael Nygard
Bulkheads, circuit breakers, and some new ideas…

## Slide 12
Chaos engineering is the discipline of experimenting on a distributed system in order to build confidence in the systems capacity to withstand turbulent conditions in production
Principles of Chaos Engineering

## Slide 13
Chaos engineering is the discipline of experimenting on a distributed system in order to build confidence in the systems capacity to withstand turbulent conditions in production
Principles of Chaos Engineering
experimenting
build confidence
capacity to withstand turbulent conditions

## Slide 14
Experiment
to ensure that
The impact of failure is mitigated
experimenting
build confidence
capacity to withstand turbulent conditions

## Slide 15
Failures
What went wrong?
What kind of thing failed

## Slide 16
What are the effects of the failure?
What mitigation mechanisms are in place?
Failures
Impacts

## Slide 17
You can only be as strong as your weakest link
How can we try to think of everything that might fail?
How can we tell what state everything is really in?

## Slide 18
Taxonomy of failures
Common language, terminology, and definitions help mitigate communication failure between people working on resiliency.
I’m proposing some terminology, try to use common definitions rather than making up your own!
Taxonomy
failure layers

## Slide 19
Taxonomy
Infrastructure
Software stack
Application
Operations
Taxonomy of failures
Failure layers
failures
Observability

## Slide 20
Taxonomy
a
Infrastructure
Software Stack
Application
Operations
Taxonomy of failures
failures
Device failures Disk, power supply, cabling, circuit board, firmware
CPU failures Cache corruption, logic bugs
Datacenter failures Power, connectivity, cooling, fire, flood, wind, quake
Internet failures DNS, ISP, internet routes

## Slide 21
Taxonomy
infrastructure
Taxonomy of failures
failures
Software stack
Time bombs Counter wrap round, memory leak
Date bombs Leap year, leap second, epoch
End of Unix Time
Device failures Disk, power supply, cabling, circuit board, firmware
CPU failures Cache corruption, logic bus
Datacenter failures Power, connectivity, cooling, fire, flood, wind
Routing failures DNS, ISP, internet routes

## Slide 22
Taxonomy
Taxonomy of failures
failures
Software stack
Time bombs Counter wrap round, memory leak
Date bombs Leap year, leap second, epoch
End of Unix Time
Expiration Certificates timing out
Revocation License or account shut down by supplier
Exploit Security failures e.g. Heartbleed

## Slide 23
Taxonomy
Taxonomy of failures
failures
Software stack
Language bugs Compiler, interpreter
Runtime bugs JVM, Docker, Linux, Hypervisor
Protocol problems Latency dependent or poor error recovery
Expiration Certificates timing out
Revocation License or account shut down by supplier
Exploit Security failures e.g., Heartbleed

## Slide 24
Application
Taxonomy
Taxonomy of failures
failures
software stack
Time bombs (in application code) Counter wrap round, memory leak
Date bombs (in application code) Leap year, leap second, epoch, Y2K
Content bombs Data dependent failures
Language bugs compiler, interpreter
Runtime bugs JUM, Docker, Linux, Hypervisor
Protocol problems Flaky network protocols

## Slide 25
Application
Taxonomy
Taxonomy of failures
failures
software stack
Time bombs Counter wrap round, memory leak
Date bombs Leap year, leap second, epoch
Content bombs Data dependent failures
A Netflix movie synopsis for a Spanish title contained a cedilla—Ç—encoded as <&#231;>, but was missing the ;.
Each time the title was shown, the presentation tier code entered an infinite loop; gradually taking down the site.
Code for the bug was six years old.

## Slide 26
Application
Taxonomy
Taxonomy of failures
failures
A Netflix movie synopsis for a Spanish title contained a cedilla—Ç—encoded as <&#231;>, but was missing the >.
Each time the title was shown, the presentation tier code entered an infinite loop; gradually taking down the site.
Code for the bug was six years old.
Configuration Wrong config or bad syntax
Versioning Incompatible mixes

## Slide 27
Application
Taxonomy
Taxonomy of failures
failures
Configuration Wrong confix or bad syntax
Versioning Incompatible mixes
Cascading failures Error handling bugs
Cascading overload Excessive logging, lock contention, hysteresis
Retry Storms Too many retries, work amplification, bad timeout strategy

## Slide 28
Operations
Taxonomy
Taxonomy of failures
failures
Cascading failures Error handling bugs
Cascading overload Excessive logging histories, lock contention
Retry Storms Too many retries work amplification, bad timeout strategy
application
Inadequate incident management
Failure to initiate incident
Unable to access monitoring dashboards
Insufficient observability of systems
Incorrect corrective actions
Poor capacity planning

## Slide 29
Observability
Taxonomy
Taxonomy of failures
failures
Cascading failures Error handling bugs
Cascading overload Excessive logging histories, lock contention
Retry Storms Too many retries work amplification, bad timeout strategy
application
Delayed updates prolong incidents
Inconsistent data across tools
Disagreements about meaning of metrics
Alert storms, alert fatigue
Overloaded due to scale or rate of change
Tools go down with the system

## Slide 30
Infrastructure
Switching
Application
People
Chaos Engineering Team

## Slide 31
Hypothesis testing
We think we have safety margin in this dimension, let’s carefully test to be sure
In production
Without causing an issue

## Slide 32
Experienced staff
Robust applications
Dependable switching fabric
Redundant service foundation

## Slide 33
?
Additional thoughts…
Observability of systems
Epidemic failure modes
Automation and continuous chaos

## Slide 34
?
Possible future directions
Observability of systems
Epidemic failure modes
Automation and continuous chaos

## Slide 35
Observability
Epidemic failure modes
Automation and continuous chaos
Kalman, 1961 paper On the general theory of control systems
A system is observable If the behavior of the entire system can be determined by only looking at its inputs and outputs
Lesson: Control theory is a thing people should learn about rather than try to reinvent…

## Slide 36
Observability
DevOps But no one ever talked about observability of computers before?
Cockcroft & Walker, 2001 Capacity Planning For Web Services. Entire chapter on observability which wasn’t controversial at the time
Lesson Control theory is a thing people should learn about rather than reinvent…
Low
Medium
High
Microservice that does one thing
Function with no side effects
Monolith with logging
Monolith with tracing and logging

## Slide 37
Failures can be
Independent Common assumption
Correlated Harder to model and mitigate knock-on effects
Epidemic Everything breaks at once!
examples

## Slide 38
Failures can be
Independent Common assumption
Correlated Harder to model and mitigate knock-on effects
Epidemic
examples
Linux Leap—second bug
Memory leak in agent
Cloud zone or region failure
DNS failure
Security configuration syntax error

## Slide 39
Epidemic
examples
Linux Leap—second bug
Memory leak in agent
Cloud zone or region failure
DNS failure
Security configuration syntax error
Quarantine needed

## Slide 40
Epidemic
examples
Linux Leap—second bug Maintain ability to deploy on Windows
Memory leak in agent Use multiple monitoring tools
Cloud zone or region failure Cross-zone or region replication
DNS failure Multiple domains and providers
Security configuration syntax error Limit the scope of deployments
Quarantine
Diversity needs to be managed to contain an epidemic

## Slide 41
Epidemic
examples
Linux Leap—second bug Maintain ability to deploy on Windows
Memory leak in agent Use multiple monitoring tools
Cloud zone or region failure Cross-zone or region replication
DNS failure Multiple domains and providers
Security configuration corruption Limit scope of deployments
Quarantine
Diversity needs to be managed to contain an epidemic

## Slide 42
Cloud provides the automation that leads to chaos engineering

## Slide 43
As datacenters migrate to cloud, fragile and manual disaster recovery will be replaced by chaos engineering

## Slide 44
Testing failure mitigation will move from a scary annual experience to automated continuous chaos
Observability tools need to be more available than the systems they monitor

## Slide 45
“A system is observable If the behavior of the entire system can be determined by only looking at its inputs and outputs”
– Kalman 1961
Adrian Cockcroft
@adrianco
AWS VP Cloud Architecture Strategy